## Sheet1
Bus 6ESF001TB fails to operate | Bus
Bus EAB001TB fails to operate
Bus EAA001TB fails to operate |  | fails to operate
Bus EAA001TB fails to operate |  | fails to operate
Bus EAE001TB fails to operate |  | fails to operate
Bus EAW001TB fails to operate |  | fails to operate
Bus EAY001TB fails to operate |  | fails to operate
Bus ECA001TB fails to operate |  | fails to operate
Bus ECB001TB fails to operate |  | fails to operate
Bus EDA001TB fails to operate |  | fails to operate
Bus EDB001TB fails to operate |  | fails to operate
Bus EDG001TB fails to operate |  | fails to operate
Bus EEA001TB fails to operate |  | fails to operate
Recirculation fan VCP001ZV fails to start | Fan | fails to start
Recirculation fan VCP001ZV fails to operate(>1h）
Recirculation fan VCP001ZV fails to operate(<1h）
Recirculation fan VCP001ZVunavailability due to test and maintenance |  | unavailability due to test and maintenance
Recirculation fan VCP002ZV fails to start |  | fails to start
Recirculation fan VCP002ZV fails to operate(>1h） |  | fails to operate
Recirculation fan VCP002ZV fails to operate(<1h） |  | fails to operate(<1h）
Recirculation fan VCP002ZV unavailability due to test and maintenance |  | unavailability due to test and maintenance
Forced-draft-fan VNA001ZV fails to operate |  | fails to operate
Orifice WCC055DI blockage
Orifice WCC056DI blockage |  | blockage
Orifice WCC057DI blockage |  | blockage
Orifice WCC058DI blockage |  | blockage
Orifice WCC181DI blockage |  | blockage
Orifice WCC281DI blockage |  | blockage
Orifice WEC001KD blockage |  | blockage
Motor-operated fire damper VNA155VAF spurious operation |  | spurious operation
Motor-operated fire damper VNA156VAF large external leakage |  | large external leakage
Motor-operated fire damper VNA156VAF small external leakage |  | small external leakage
Motor-operated fire damper VNA156VAF spurious operation
Reactor pump circuit breaker RCS011JA refuses to open |  | refuses to open
Reactor pump circuit breaker RCS012JA refuses to open |  | refuses to open
Reactor pump circuit breakerRCS021JA refuses to open |  | refuses to open
Reactor pump circuit breaker RCS022JA refuses to open |  | refuses to open
Reactor pump circuit breaker RCS031JA refuses to open |  | refuses to open
Reactor pump circuit breaker RCS032JA refuses to open |  | refuses to open
380V switch refuses to close |  | refuses to close
380V switch spurious operation |  | spurious operation
380V switch refuses to close |  | refuses to close
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
6.6kV switch refuses to close
6.6kV switch spurious operation
6.6kV switch refuses to close
6.6kV switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
Fan VCP001ZV 380V power switch refuses to close
Fan VCP001ZV 380V power switch spurious operation
Fan VCP002ZV 380V power switch refuses to close
Fan VCP002ZV 380V power spurious operation
380V contactor fails to operate
380V contactor fails to operate
380V contactor fails to operate
380V contactor refuses to close
380V contactor fails to operate
380V contactor refuses to close
380V contactor fails to operate
380V contactor fails to operate
380V contactor fails to operate
380V contactor refuses to close
380V contactor fails to operate
380V contactor refuses to close
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V power switch refuses to close
6.6kV switch spurious operation
6.6kV switch spurious operation
6.6kV switch refuses to close
6.6kV switch spurious operation
6.6kV switch refuses to close
6.6kV switch spurious operation
6.6kV switch refuses to close
6.6kV switch spurious operation
6.6kV switch refuses to close
6.6kV switch spurious operation
6.6kV switch refuses to close
6.6kV switch spurious operation
6.6kV switch refuses to close
6.6kV switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
380V switch refuses to close
380V switch spurious operation
6.6kV switch spurious operation